## BioVac 96 Vaccum Manifold

# Description

BioVac 96 Vaccum manifold system is developed to be applied effectively to DNA/RNA extraction Kit of Bioneer’s 96-well format. Users can perform the extraction and purification effectively with this product by dealing with simultaneously 96 ea of samples (Plamid DNA, Genomic DNA, PCR Products). For getting the uniform results in using BioVac 96 Vaccum Manifold, you can keep in vacuum equally by utilizing Vacuum pump equipped with gauge.

## Principle

The Extraction Kit using Spin Column is achieved by centrifuge technology, whereas, BioVac 96 Vaccum Manifold extracts DNA/RNA by filtering solution of 96 well plate by Vacuum decompression principle.

### Advantages and Characteristics

(1) can deal with the samples of 96 simultaneously and swiftly.

(2) can get the reproducible results by treating with uniform vacuum in the bottom side of whole 96 well plate.

(3) can keep with vacuum within the BioVac body equipped with BioVac Stand.

#### Components

(1) BioVac Body

(2) BioVac Plate Holder

(3) Waste Tray

(4) BioVac Stand

(5) Line Adapter (selectable)

### Accessory of BioVac 96

AccuPrepTM  96 plasmid Extraction kit

AccuPrepTM  96 Genomic DNA Extraction Kit

AccuPrepTM  96 PCR Purification Kit

AccuPrepTM  96 Gel Purification Kit

Fig. 1. BioVac 96 Vaccum manifold

Fig. 2. Show connection of BioVac 96 and Vacuum pump